Table of Content:

Abstract……………………………………………………………………………...i

List of Figures……………………………………………...………………………ii

List of Tables………………………………………………………………………iii

CHAPTER: 01 “Introduction”………………………..……………………………1

- Background………………………………………………………………1

- Project objectives………………………………………………………...1

- Major productions areas………………………………………………….1

- Load nature……………………………………………………………….2

- AutoCAD 2D demonstration……………………………………………..3

- Lighting layout…………………………………...………………………3

CHAPTER: 02 “Load Estimation and Demand Calculation”………………..…….7

- Load summary………………………………………………..…………..7

- Demand load calculations………………………………….…………….8

- Phase wise assignment…………………………………….……………..8

- Phase current calculation……………………….………………………...9

- Observation………………………………………………………………9

- Recommendations………………………………………………………..9

CHAPTER: 03 “Transformer Sizing”…………………………………………….10

- Assumption……………………………………………………………..10

- Basic kVA requirement…………………………………………………10

- Line current (3 phase) at 430………………………...…………………10

- Recommendations………………………………...…………………….11

CHAPTER: 04 “Busbar Scheme”……………………………...…………………11

- Single line Diagram (SLD) description………………...……………….12

CHAPTER: 05 “Main and sub-dristribution”…………………………..………...13

CHAPTER: 06 “Cable Sizing”…………………………………………...……….14

- Cable size…………………………………………………….…………14

- Earthing and grounding cable………………………………….………15

CHAPTER: 07 “Breaker Sizing”…………………………………………………16

- Introduction of Breakers………………………………………………..16

- Breaker Sizing Criteria………………………………….………………16

- Department Wise Breaker Sizing……………………………………….17

CHAPTER: 08 “Illumination Design”…………………………………...……….18

Abstract:

This paper presents a comprehensive electrical system design for a ceramic manufacturing facility, undertaken as part of a Complex Engineering Problem (CEP). The project integrates industrial lighting design, power distribution planning, and a complete wiring layout to ensure compliance with engineering standards and the operational requirements of a modern manufacturing environment. Illumination modeling was performed using DIALux, where suitable industrial luminaires were selected based on photometric data to meet CIE-recommended lux levels across production halls, storage areas, administrative offices, corridors, and quality control zones. Lighting placement, uniformity ratios, glare limitation, and energy performance were evaluated to enhance visibility, worker safety, and overall efficiency.

A detailed Single Line Diagram (SLD) was developed in AutoCAD to represent the electrical distribution system, including transformer connections, distribution boards, circuit protection, and cable routing. The design also incorporates a double busbar arrangement for the production area to ensure higher reliability, operational flexibility, and uninterrupted power supply during maintenance or fault conditions. In contrast, a sectionalizer with a single busbar configuration was adopted for office spaces, warehouses, and non-critical zones to maintain simplicity, reduce cost, and meet functional requirements. Load estimation, cable sizing, and phase balancing were carried out in accordance with IEC 60364 and relevant national standards, ensuring adequate protection against overloads, short circuits, voltage drops, and thermal derating factors.

The final system provides a safe, energy-efficient, and resilient electrical infrastructure capable of supporting heavy industrial loads such as ball mills, HTF units, packing machines, motors, and auxiliary equipment. This project demonstrates the application of engineering principles, simulation tools, and international standards to develop a robust and maintainable electrical distribution and lighting solution suitable for continuous ceramic industry operations.

Acknowledgment:

I would like to express my sincere gratitude to Miss Binish, whose guidance, support, and valuable insights played a vital role throughout the completion of this Complex Engineering Problem (CEP) project. Her continuous encouragement and technical feedback greatly helped me in understanding industrial electrical design practices, lighting standards, and the use of tools such as DIALux and AutoCAD.

I would also like to thank my group member Ali Nasir for his collaboration, active participation, and contribution to various aspects of this project, which made the work more effective and comprehensive.

Finally, I appreciate the support of my department and university for providing the academic environment and resources necessary to complete this project successfully.

List of Figures

List of Tables